R. STAHL offers the service to configure ISpac isolators according to your requirements.

There are two options: 

1. The form can be downloaded on the product page ISpac, section "Data sheet". Please edit the form directly on your PC.

2. Download the software at ISpac Wizard free: "http://www.r-stahl.com/downloads/software/ex-i-isolators.html".
Create them using the software configuration. Forward the .prj file to your R. STAHL sales office.

Order-No.:       -Pos.:       Pieces:

|  | Type | Channels | Output | Limit value |
| --- | --- | --- | --- | --- |
|  | 9146/10-11-12. | 1 | 0/4 mA ... 20 mA | 2 NC / NO |
|  | 9146/20-11-11. | 2 | 0/4 mA ... 20 mA | none |

with:

Screw terminal s 		 Spring cage terminal k

Please read the operating instructions before you fill in the following form.

Please select only one item parameter and channel.

|  | Default | Channel 1 | Channel 2 |
| --- | --- | --- | --- |
| Signal-Tag | ID-Nr. |  |  |
| I.S. input |
| Working mode | Frequency via period | Counter Frequency via period Frequency via event (50 ms) Frequency via event (200 ms) Frequency via event (1000 ms) | Counter Frequency via period Frequency via event (50 ms) Frequency via event (200 ms) Frequency via event (1000 ms) |
| Impulse type | Positive pulse rise time | Positive pulse rise time Negative pulse rise time | Positive pulse rise time Negative pulse rise time |
| Measurement range | 0 Hz ... 1000 Hz | from to (max. 20 000 Hz) | from to (max. 20 000 Hz) |
| Output |
| Signal | 4 mA ... 20 mA | 0 mA ... 20 mA 4 mA ... 20 mA | 0 mA ... 20 mA 4 mA ... 20 mA |
| Fault behaviour | Output Fault value (2.4 mA) | Hold last value (start with fault value) Fault control off Output Fault value: | Hold last value (start with fault value) Fault control off Output Fault value: |
| Limiting value for Relay A (only 9146/10-11-12) |
| Signalling | inactive | active inactive | --- |
| Value | 25 % | % (0 %... 100 %) | --- |
| Behaviour contact | inactive | inactive closes, if value > limit value closes, if value < limit value opens, if value > limit value opens, if value < limit value | --- |
| Hysteresis | 7,5 % | % (0.1 % ... 10 %) | --- |
| Startup delay | 0 s | s (0 s ... 999 s) valid for both channels | --- |
| Relay Lockout | inactive | active inactive | --- |
| Limiting value for Relay B (only 9146/10-11-12) |
| Signalling | inactive | active inactive | --- |
| Value | 25 % | % (0 % ... 100 %) | --- |
| Behaviour contact | inactive | inactive closes, if value > limit value closes, if value < limit value opens, if value > limit value opens, if value < limit value | --- |
| Hysteresis | 7,5 % | % (0.1 % ... 10 %) | --- |
| Startup delay | 0 s | s (0 s ... 999 s) valid for both channels | --- |
| Relay Lockout | inactive | active inactive | --- |
| Impulse output | inactive | active inactive | --- |
| Divider | 4 | (1 ... 20 000) | --- |