Tender text Tubular Light Fitting with LED Series 6036

28 watt version:

[6036/1225-050-0120-01](#A)

[6036/1225-050-0120-11](#B)

[6036/1225-050-0150-01](#C)

[6036/1225-050-0150-11](#D)

[6036/1225-050-0170-01](#E)

[6036/1225-050-0170-11](#F)

[6036/1225-050-0180-01](#G)

[6036/1225-050-0180-11](#H)

[6036/1225-050-0320-01](#I)

[6036/1225-050-0350-01](#J)

[6036/1225-050-0350-11](#K)

[6036/1225-050-0370-01](#L)

[6036/1225-050-0370-11](#M)

[6036/1225-050-0380-01](#N)

[6036/1225-050-0380-11](#O)

38 watt version

[6036/1235-050-0120-11](#P)

[6036/1235-050-0150-01](#Q)

[6036/1235-050-0150-11](#R)

[6036/1235-050-0170-01](#S)

[6036/1235-050-0170-11](#T)

[6036/1235-050-0180-01](#U)

[6036/1235-050-0180-11](#V)

[6036/1235-050-0320-01](#W)

[6036/1235-050-0320-11](#X)

[6036/1235-050-0350-01](#Y)

[6036/1235-050-0350-11](#Z)

[6036/1235-050-0370-01](#A1)

[6036/1235-050-0370-11](#B1)

[6036/1235-050-0380-01](#C1)

[6036/1235-050-0380-11](#D1)

48 watt version

[6036/1248-050-0120-01](#E1)

[6036/1248-050-0120-11](#F1)

[6036/1248-050-0150-01](#G1)

[6036/1248-050-0150-11](#H1)

[6036/1248-050-0170-01](#I1)

[6036/1248-050-0170-11](#J1)

[6036/1248-050-0180-11](#K1)

[6036/1248-050-0180-01](#L1)

[6036/1248-050-0320-01](#M1)

[6036/1248-050-0320-11](#N1)

[6036/1248-050-0350-01](#O1)

[6036/1248-050-0350-11](#P1)

[6036/1248-050-0370-01](#Q1)

[6036/1248-050-0370-11](#R1)

[6036/1248-050-0380-01](#S1)

[6036/1248-050-0380-11](#T1)

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 1,28 kg

Lamp wattage : 28 W

Diffusor : without Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0120-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 1,4 kg

Lamp wattage : 28 W

Diffusor : with Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0120-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 1,5 kg

Lamp wattage : 28 W

Diffusor : without Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0150-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 1,6 kg

Lamp wattage : 28 W

Diffusor : with Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0150-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 2,133 kg

Lamp wattage : 28 W

Diffusor : without Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0170-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 2,2 kg

Lamp wattage : 28 W

Diffusor : with Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0170-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 3,3 kg

Lamp wattage : 28 W

Diffusor : without Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0180-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 3,3 kg

Lamp wattage : 28 W

Diffusor : with Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0180-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 1,2 kg

Lamp wattage : 28 W

Diffusor : without Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0320-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 1,35 kg

Lamp wattage : 28 W

Diffusor : without Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0350-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 1,4 kg

Lamp wattage : 28 W

Diffusor : with Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0350-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 1,633 kg

Lamp wattage : 28 W

Diffusor : without Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0370-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 1,7 kg

Lamp wattage : 28 W

Diffusor : with Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0370-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 2,3 kg

Lamp wattage : 28 W

Diffusor : without Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0380-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 2.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 2

Length : 762 mm

Enclosure material : Polycarbonate

Weight : 2,3 kg

Lamp wattage : 28 W

Diffusor : with Diffusor

Luminous flux : 2.361 lm

Luminaire efficiency : 94 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1225-050-0380-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 1,75 kg

Lamp wattage : 38 W

Diffusor : with Diffusor

Luminous flux : 3.368 lm

Luminaire efficiency : 91 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0120-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 1,95 kg

Lamp wattage : 38 W

Diffusor : without Diffusor

Luminous flux : 3.947 lm

Luminaire efficiency : 107 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0150-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 2 kg

Lamp wattage : 38 W

Diffusor : with Diffusor

Luminous flux : 3.368 lm

Luminaire efficiency : 91 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0150-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 2,485 kg

Lamp wattage : 38 W

Diffusor : without Diffusor

Luminous flux : 3.947 lm

Luminaire efficiency : 107 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0170-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 2,55 kg

Lamp wattage : 38 W

Diffusor : with Diffusor

Luminous flux : 3.368 lm

Luminaire efficiency : 91 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0170-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 3,6 kg

Lamp wattage : 38 W

Diffusor : without Diffusor

Luminous flux : 3.947 lm

Luminaire efficiency : 107 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0180-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 3,7 kg

Lamp wattage : 38 W

Diffusor : with Diffusor

Luminous flux : 3.368 lm

Luminaire efficiency : 91 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0180-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 1,55 kg

Lamp wattage : 38 W

Diffusor : without Diffusor

Luminous flux : 3.947 lm

Luminaire efficiency : 107 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0320-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 1,6 kg

Lamp wattage : 38 W

Diffusor : with Diffusor

Luminous flux : 3.368 lm

Luminaire efficiency : 91 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0320-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 1,7 kg

Lamp wattage : 38 W

Diffusor : without Diffusor

Luminous flux : 3.947 lm

Luminaire efficiency : 107 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0350-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 1,8 kg

Lamp wattage : 38 W

Diffusor : with Diffusor

Luminous flux : 3.368 lm

Luminaire efficiency : 91 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0350-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 1,985 kg

Lamp wattage : 38 W

Diffusor : without Diffusor

Luminous flux : 3.947 lm

Luminaire efficiency : 107 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0370-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 2,1 kg

Lamp wattage : 38 W

Diffusor : with Diffusor

Luminous flux : 3.368 lm

Luminaire efficiency : 91 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0370-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 2,6 kg

Lamp wattage : 38 W

Diffusor : without Diffusor

Luminous flux : 3.947 lm

Luminaire efficiency : 107 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0380-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 3.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 3

Length : 1.059 mm

Enclosure material : Polycarbonate

Weight : 2,7 kg

Lamp wattage : 38 W

Diffusor : with Diffusor

Luminous flux : 3.368 lm

Luminaire efficiency : 91 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1235-050-0380-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 2 kg

Lamp wattage : 49 W

Diffusor : without Diffusor

Luminous flux : 5.263 lm

Luminaire efficiency : 109 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0120-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 2,1 kg

Lamp wattage : 49 W

Diffusor : with Diffusor

Luminous flux : 4.491 lm

Luminaire efficiency : 93 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0120-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 2,3 kg

Lamp wattage : 49 W

Diffusor : without Diffusor

Luminous flux : 5.263 lm

Luminaire efficiency : 109 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0150-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 2,4 kg

Lamp wattage : 49 W

Diffusor : with Diffusor

Luminous flux : 4.491 lm

Luminaire efficiency : 93 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0150-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 2,815 kg

Lamp wattage : 49 W

Diffusor : without Diffusor

Luminous flux : 5.263 lm

Luminaire efficiency : 109 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0170-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 2,91 kg

Lamp wattage : 49 W

Diffusor : with Diffusor

Luminous flux : 4.491 lm

Luminaire efficiency : 93 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0170-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 4 kg

Lamp wattage : 49 W

Diffusor : with Diffusor

Luminous flux : 4.491 lm

Luminaire efficiency : 93 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0180-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 3,9 kg

Lamp wattage : 49 W

Diffusor : without Diffusor

Luminous flux : 5.263 lm

Luminaire efficiency : 109 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0180-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 1,9 kg

Lamp wattage : 49 W

Diffusor : without Diffusor

Luminous flux : 5.263 lm

Luminaire efficiency : 109 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0320-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 2 kg

Lamp wattage : 49 W

Diffusor : with Diffusor

Luminous flux : 4.491 lm

Luminaire efficiency : 93 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0320-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 2 kg

Lamp wattage : 49 W

Diffusor : without Diffusor

Luminous flux : 5.263 lm

Luminaire efficiency : 109 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0350-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 2,1 kg

Lamp wattage : 49 W

Diffusor : with Diffusor

Luminous flux : 4.491 lm

Luminaire efficiency : 93 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0350-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 2,35 kg

Lamp wattage : 49 W

Diffusor : without Diffusor

Luminous flux : 5.263 lm

Luminaire efficiency : 109 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0370-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 2,42 kg

Lamp wattage : 49 W

Diffusor : with Diffusor

Luminous flux : 4.491 lm

Luminaire efficiency : 93 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0370-11

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 2,9 kg

Lamp wattage : 49 W

Diffusor : without Diffusor

Luminous flux : 5.263 lm

Luminaire efficiency : 109 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0380-01

Explosion-protected Ex d LED tubular light fitting made of plastic and very lightweight, size 4.

For use in Ex-Zones 1, 2, 21 and 22.

Using state-of-the art LED technology and high luminous efficacy a long service life of up to 100,000 hours is achieved.

Version : Size 4

Length : 1.382 mm

Enclosure material : Polycarbonate

Weight : 3 kg

Lamp wattage : 49 W

Diffusor : with Diffusor

Luminous flux : 4.491 lm

Luminaire efficiency : 93 lm/W

Rated operational voltage AC : 240 V

Application range (Zone) : 1 , 2 , 21 , 22

Gas explosion protection : II 2 G Ex d op is IIC T4 Gb

Dust explosion protection : II 2 D Ex tb IIIC 100 °C Db

Min. ambient temperature : -50 °C

Max. ambient temperature : +60 °C

Type of protection (IP) : IP66 / IP68 (10 M / 1 H)

For further information, see : www.r-stahl.com

 Web code 6036A

Manufacturer's name : STAHL Schaltgeräte GmbH

Type : 6036/1248-050-0380-11