R.STAHL offers you the service to configure ISpac isolators according to your specifications.

This form can be downloaded from the Internet on the page Product Information ISpac, section "Data Sheet".

Please edit the form directly on your PC.

order-no.:       -pos.:        volume:

| type | channels | output | trip points |
| --- | --- | --- | --- |
| 9162/13-11-14. | 1 | 4...20 mA | 2 normally open |
| Non-Ex I / Non-I.S.: 9162/13-11-64. | 1 | 4…20 mA | 2 normally open |

Equipped with:         ‪ Screw terminals s 		 Spring terminals k‬

Please observe the operating instructions before fill in the following form. Please specify only one selection per parameter and channel.  The signal TAG is noted as an identifier on the label of the device.

|  | factory default | parameter |
| --- | --- | --- |
| signal tag | serial-no. |  |
| limit value A |
| limit value signalization | deactivated | ‪ activated deactivated‬ |
| limit value | 12 mA | mA (3,8 ... 20,5 mA) |
| contact behavior | inactive | ‪ inactive‬ ‪ off above limit value‬ ‪ off below limit value‬ |
| hysteresis | 1 mA | mA (0,024 ... 2,4 mA) |
| reclosing lockout | deactivated | ‪ activated deactivated‬ |
| Limit value B |
| limit value signalization | deactivated | ‪ activated deactivated‬ |
| limit value | 12 mA | mA (3,8 ... 20,5 mA) |
| contact behavior | inactive | ‪ inactive‬ ‪ off above limit value‬ ‪ off below limit value‬ |
| hysteresis | 1 mA | mA (0,024 ... 2,4 mA) |
| reclosing lockout | deactivated | ‪ activated deactivated‬ |